Discharge to Drain Log

All discharges to the foul drain (includes internal sinks) must be recorded when they meet the following criteria:

- Exceed 1m3 per day

- Could potentially contain trace elements of prohibited hazardous materials as set out in the attached discharge to drain log guidance note.

- Have a pH below pH 6

- Have a pH above pH 11

- Temperature exceeded 43C

The log should be available at all times for inspestion as part of the University Trade Effluent Permit requirements. Failure to provide this can result in prosecution. Discharges to surface water drains are not permitted in any circumstance.

| Date | Location | What has been discharged? | Solid/Liquid | Amount | pH value | Who discharged? |
| --- | --- | --- | --- | --- | --- | --- |
| Date of discharge | Lab/room/drain etc | e.g. 1% dilute Virkon solution, trace element of diluted sterlised blood from petri dish cleaning. | Solid/liquid/ both | In the most appropriate measurement e.g. liquids in ml, solids in grams | at point of discharge | This is a contact name only – not an admission of liability |
| Date | Location | What has been discharged? | Solid/Liquid | Amount | pH value | Who discharged? |
| Date | Location | What has been discharged? | Solid/Liquid | Amount | pH value | Who discharged? |

Prohibited Substances

The following substances are explicitly listed within our Trade Effluent Consents as PROHIBITED and must never enter the drainage network under any circumstances.

If you need to dispose of any of these substances and cannot do so through the existing chemical or hazardous waste disposal processes, please contact sustainability@swansea.ac.uk to discuss alternative options.

| Substance | Notes |
| --- | --- |
| Compounds of the following elements: antimony, arsenic, barium, beryllium, boron, cadmium, chromium, cobalt, copper, lead, mercury, molybdenum, nickel, selenium, silver, tellurium, thallium, tin, titanium, uranium, vanadium and zinc. | Prohibited at all times |
| Organo-halogen, organophosphorus or organonitrogen pesticides, triazine herbicides, any other biocides | Prohibited at all times |
| Cyanides and compounds containing cyanides | Prohibited at all times |
| Mineral oils and hydrocarbons | Prohibited at all times |
| Poisonous organosilicon compounds, metal phosphides and phosphorus element | Prohibited at all times |
| Fluorides and nitrites | Prohibited at all times |
| Live microbiological cultures | Prohibited at all times |
| Corrosives (acids and bases) | Prohibited at all times |
| Oil and grease including mineral oils and oil emulsions | Prohibited at all times |
| Tar and tar oils | Prohibited at all times |
| Paints and varnish | Prohibited at all times |
| Phenols, cresols and simple derivatives | Prohibited at all times |
| Organo‐halogen compounds, including pesticides, herbicides (their residues) and degreasing agents | Prohibited at all times |
| Any substance that can or has the potential (when mixed with other compounds) to cause a nuisance (e.g. smell) | Please check SDS before discharge |
| Any substance that produces flammable, harmful or toxic vapours (e.g. solvents, petroleum spirit) | Please check SDS before discharge |
| Beer | Prohibited at all times |
| Nanoparticles | Prohibited at all times |
| Trace Metal | No more than 1m3 and/or contains more than 2mg/L of metals |
| Anything with the hazard symbol/s: - H400 - H410 - H411 - H412 - H412 - H420 |  |
| Anything substance below pH 6 |  |
| Anything substance above pH11 |  |
| Anything containing any solids/semi-solids (suspended solids) | Filtration options are available, but must be checked with the sustainability team before use to ensure effectiveness and compliance |
| Unsterilized blood products |  |